[image: image1.jpg]o UsB o<
7N @) n
Griops

FECEQ®




迪奥科技                                                    TEO产品手册

百万像素微型USB工业CMOS相机
MINI USB  INDUSTRIAL GRADE MONOCHROME 
CMOS CAMERAS
[image: image2.jpg]DigitalCIarIly | syarszss
/




[image: image3.jpg]


[image: image4.jpg]<aD



TM-B6130U 1/ 2 inch CMOS
[image: image5.jpg]vhas

54.0

1.7

61.0

1/4-inch






产品用途: 尤为适合工业,交通,环境等图像捕捉和监控应用

外观及功能描述


Specifications 技术指标                                              Dimensions尺寸                         Unit:mm毫米  
	Model 型号  
	TE-B6130U
	


	Sensor 图像传感器
	Diagonal 8.19mm,1/2-inch  MiCMOS
6.55mm(H) ×4.92mm(V)
	

	Effective pixels 有效像素
	1280(H)x1024(V)
	

	Unit cell size像素尺寸(um)
	5.2μm(H)×5.2μm(V)
	

	Frame rate 帧率
	30fps; max:40fps at full resolution
	

	Scanning mode 扫描方式
	Progressive
	

	Signal process 信号处理
	12-bit TEO-MIPPOTM process
	

	Image data output 图像数据输出
	8、12、16、and 24-bit digital data
	

	S/N ratio 信噪比
	45dB
	

	Dynamic range 动态范围
	＞72.0dB
	

	Sensitivity 灵敏度
	2.1 V/lux-sec (550nm)
	

	Gain control  增益控制
	Automatic/manual/one-push modes,programmable via software

 -2.6dB to 24dB in 0.04dB increments
	

	Shutter speed  快门速度
	Automatic/manual/one-push modes,

programmable via software 0.03ms to 32s
	

	Image output 图像输出
	USB 2.0  out ,480Mb/s
	

	Programmable control可编程控制
	Image size, contrast, brightness, gain, exposure time
	

	Software function软件功能
	  Image display, image processing, video
	

	General purpose I/O ports  I/O 端口
	4-pin GPIO connector for power,trigger,strobe, PWM,and serial I/O 

 I opto-isolated input, I opto-isolated output, 2 bi-directional I/O pins
	

	Software support 软件支持
	Measurement software,SDK,OCX,control-file；

support DSHOW,labview,TWAIN port
	

	Operation software操作平台
	VISTA，WIN7，WIN XP；WIN2000 Full support

 for 32-bit,64-bit operating system
	

	Lens mount 镜头安装方式
	C mount
	

	Power  consumption 电源功耗
	Approx 2.3W；+5.0VDC+10% (recommended)
	

	Operating temperature 工作温度
	-10℃ to +50℃; 0℃ to +40℃ (recommended 推荐)
	

	Dimension尺寸
	29.0(L)×29.0(W)×60.0 (H) mm
	

	Weight 重量
	approx 85g
	


产品设计和技术指标如有变动恕不另行通知
主要参数：


◆传感器: 1280H x1024V(1/2 -inch CMOS)         


◆灵敏度: 2.1V/lux-sec


◆信噪比: 45dB


◆供电电压: +5VDC, 2.5W





产品特色：


◆高清晰, 高信噪比, 图像更细腻


◆DigitalClarityTM清澈化处理技术, 图像更通透


◆有8条十字线, 图像冻结功能


◆可在程序界面调整曝光、对比度、增益、清晰度；


◆USB2.0图像接口，无需板卡方便连接计算机即可实现查看；


◆USB接口+5V直流供电，无需另外供电。





（1）USB port   USB2.0接口          


（2）Locking screw hole  锁定螺孔 


（3）GPIO port  GPIO端口


（4）Power Indicator  电源指示灯


（5）Lens mount hoel 镜头安装孔


（6）Mounting bottom 安装底托


（7）Mount screw hole 安装螺孔


                                                                               


                                   











PAGE  
www.teochina.com

